## Slide 1: Quality of care in hemodialysis unit
presented by DAIAL AI- sayel

## Slide 2: CONTENTS:
WHAT IS QUALITY CARE
The aims to are to provide care
How to evaluate the quality of dialysis centers
Clinical performance measures
CPM target
Regulatory audit
conclution

## Slide 3: WHAT IS QUALITY CARE ?
In 1990,the institution of medicine defined quality as
The degreed to which health services for individuals and populations increase the likelyhood of desired health outcomes and are consistent with current professional knowledge…

## Slide 4: THE AIMS ARE TO PROVIDE CARE THAT IS:
Safe -avoid harm to patients from care that should help them
Effective –provide care based on science to all who could benefit
Efficient –avoid waste of equipments
Supplies, ideas and energy
Equitable –provide care that dose not very in quality due to gender, ethnicity , education level and income

## Slide 5: HOW TO EVALUATE THE QUALITY OF DIALYSIS CENTERS ?????
Improving patients outcomes by giving high quality , efficient care has become a goal of the most of dialysis centers .
By sing the CPM (clinical performance measurements ) dialysis centers ….. We can evaluate the quality of dialysis care

## Slide 6: WHAT IS CPM?????
Clinical performance Measures (CPMs)are
Indicators of care that :
Measure how well established targets (or thresholds) of care for dialysis
Patients are met (compliance to clinical guidelines).

## Slide 7
The ESRDD Clinical performance Measures (CPM) project collects clinical information on dialysis patients to measures and track the qulity of care received by these patients in dialysis facilities.

## Slide 8: ADEQUACY IN DIALYSIS
How do we know if the patient is getting enough or adequate Dialysis?
There are two main lab tests that estimate the adequate of dialysis given to a patient during a treatment :
Urea reduction ratio
Urea kinetic modeling

## Slide 9: WHAT IS URR????
Is an estimate of how much urea is removed from a patient’s blood during dialysis
In indicates how well a treatment is working
URR about 70 %-65%.

## Slide 10: WHAT IS THE UREA KINETIC MODELING
It is estimating the delivered dose of dialysis :
It’s more complex than the URR but tell you about a patient’s treatment needs and is more .accurate
The UKM figures in a patient’s size and residual kidney function by formula to find dialysis dose is KT/V…
The normal range of KT?V between1.2-1.4

## Slide 11: FACTORS AFFECTING THE ADEQUACY
Poor blood flow from patient’s access
Poor dialysis function due to insufficient heparin
Reduced blood pump speed such as the patient has hypotension or muscle cramps
Access recirculation [mixing dialyzed venous blood with undialyzed arterial blood in the patient’s access during a treatment]

## Slide 12: ANEMIA MANAGEMENT
HEMOGLOBIN :
Healthy Kidney making hormone called erythropoietin(EPO) which triggers the bone marrow to make red blood cells. As kidney fails , they makes less (EPO)so anemia occurs.
Anemia in CKD is associated with a heart problem called Left Ventricular hypertrophy (LVH) which lead to death in people with CKD…….

## Slide 13
Ferritin is the chief iron –storage protein in the body, level of ferritin are low when patients have iron deficiency anemia .
Transferrin is a protein that carries iron to bone marrow where it is stored and than used to make new red blood cells.

## Slide 14: The network of ESRD 2010-2011 HD patient recommended:
Hgb level :
To maintain the for patients as range 10-12 g/dl.
Ferritin level :
To increase the number of patients with a ferritin level > 200 to < 800ng.
Tsat
To Increase the number of patients who achieve a TSAAT >20%to <50%.

## Slide 15
Anaemia
Haemoglobin (Hb)>70%of patients achieved Hb10 to 12 g/dl
Ferritin
>90% of patients achieved serun ferruitin >200to<800 ng/ml
Transferrin saturation (Tsat )
80% of patients achieved Tsat>20to <50%

## Slide 16: ALERT
Benefits of IV Iron Theraph
Enhanced erythropoiesis
Correction of the nonhematologic adverse effects of iron deficiency
Without adequate iron stores, EPO is relatively ineffective

## Slide 17: NUTRTIONAL STATUS
Albumin is the most common protien found in the blood . It provides the body with the protein needed to both maintain growth and repair tssues.
During dialysis treatment ,the albumin in your blood also helps with fluid removal . It healps “pull” extra fluid from swollen tissues back into the blood , where it can than be removed by the dialyzer.
Inflammation and infection can make the level of the albumin drops…

## Slide 18
Kidney disease outcomes qulity (KDOOI) guidelines, from the National kidney foundation recon=mmend:
Blood albumin level 4.0 g/dl or higher.
network 11Medical Review 2013 recommended :
80%of patients to have serum albumin >4g/dl.

## Slide 19: BONE & MINERAL METABOLISH
CKD- BMD occures when the kidney fail to maintain the proper of calcium and phosphorus in the blood , leading to abnormal bone hormone levels.
CKD-BMD is a common problem in people with kidney disease and affects almost all patients receiving dialysis.
The bones gradually becoms thin and weak, and a person with CKD- BMD may begin to feel bone and join pain.
CKD-BMD also increases the risk of bone fractures.

## Slide 20
If calcium level in the blood become too , foursmall glands in the nack called the parathyroid glands released a hormone called parathyroid hormone (PTH).
This hormone draws calcium from the bones to raise blood calcium level . Too much PTH in blood will remove too much calcium from the bones ; over time, the constate removal of calcium weakens the bones.
When the kidneys stop working normally, phosphorus level in the blood can becomes too high , leading to lower levels of calcium in the blood and resulting in higher PTH levels and the loss of calcium from the bones

## Slide 21
The normal range :
Calcium (8,5- 10.5 mg/d)
Phosphorus 92.5-4.5mg/d)
PTH (10-65 pg /ml)
Hpperphosphatemia and an increased serum Ca x p product were also found to be associated with the presence or magenitude of vascular and valvular calcifications.
Corrected calcium x phosphorus product <55

## Slide 22
2011-2012(Regarding to renal Networks 4,9,10):
Dialysis facilies should strive to maintain Calcium levels to 9.0 mg /dl aviod hypercalcemia.
Phosphorus level should be maintained at a-level <5.5mg/dl.
The reneal NetWork 11 recommended in 2014 Goals:
>65-70 of patients will have the serum ph<5.5mg/dl.
97.7-98 of patients will have Ca serum>8.5 and < 10.5 mg/dl.

## Slide 23: 3 types of access In Dialysis :
AV FISTULA :A fistula or arteriovenous fistula (AVF) surgically connects an artery and a vein.
AV GRAFT:A graft or arteriovenous graft (AVG) uses special tubing to surgically connect an artery and vein.
CENTRAL CATHETERS: A catheter makes a temporary access by inserting a soft, flexible tube into a vein in the neck, chest, or groin and either will be temporary or permanent.

## Slide 24: COMPLICATIONS OF VASCULAR ACCESS:
Thorombosis and stenosis
Infection
Bleeding
Hematoma
Recirculation
steal syndrome
aneurysm

## Slide 25: The southern California Renal disease Council Network 8:
The clinical performance goals in Dialysis Center to has:
>64 % of patients on AVF.
<24% of patients on AVF.
<10% of patients on catherters.
In 2013 the Network 11:
The clinical performance goals in Dialysis Center to has :
More than 66% of patients on AVF.
Less than 10% patients on catheters for 90 days and longer.

## Slide 26: BLOOD PRESSURE
Blood pressure (BP) varies significantly in hemodialysis patients depends upon the time taken (predialysis)
Long –term observation studies suggest than even mean arterial BP pf >98 mmHg is associated with an increased risk of death compared with lower pressures
To define an optimal BP in the dialysis population; the target predialysis:
  BP of < 140 /90 mmHg.
  the lower of < 130/80 mmHg.

## Slide 27: HOW TO MAINTAIN THE BLOOD PRESSURE???????
Lmit patients to a dietary sodium intake of 80 to 100 mEq/d and fluid intake by 600ml per a day.
Reduce patient weight gradually by ultrafiltration , trgeting for the “dry “weight
To do proper assessment for fluid over and to inform physician for any edema, SOB, High blood pressure
Avoid positive sodium balance induced by hypertonic dialysate and/ or sodium profiling during volume status adjustment in dialysis machine.
Reduce dialysate temperature when intradialytic hypotension limitsultrafiltration.

## Slide 28: DYSLIPIDAEMIA
In patients with ESRD, dyslipdemia is a common finding.
This is casued by alterations in the metabolism and the composition of the plasma lipoproteins.
Approximately 50% of dialysis patients die from cardiovascular events.
One of the main risk factory for cardiovascular events is hyperlipidemia.
Progressive renal failure is associate with lipoprotein abnormalities and dyslipidemia .
Hower, dyslipidemia may not appeary as hyperlipidemia (a rise in plasma cholestrol and/or low –density lipprotein (LDL) in the majority of HD patients.

## Slide 29
There are slight differences between patients treated with hemodialysis and those treated with peritioneal dialysis:
By comparing between peritonealdialysis with patients on hemodialysis found:
The relationship between LDL cholesterol and cardialoscular risk is confounded by inflammation.
Aim for LDL cholestrerol level of < 100mg.dl.

## Slide 30: BODY WEIGHT GAIN
Dry weight is weight without the excess fluid that builds up between dialysis treatment.
Although the concept of dry weight is used every day by neprologists to prescribe an ultrafitration goal for individual dialysis treatments…..

## Slide 31: HOW IS DRY WEIGHT DETERMINED
Normal blood preasure
Absence of edema or swelling
Neck veins that are not distended
Absence of lung sound (reales and crackles) related to fluid overload
No shortness of breach or congestive heart failure

## Slide 32: HOW FLUID GAIN AFFECTS DIALYSIS
Weigh gain.
Increase in blood pressure due to extra fluid in the bloodstream .
Swelling , called edema, in the feet, ankies, wrists, face and around the eyese .
Abdominal bloating
Shortness of breath due to fluid in the lungs.
Heart problems , which can include a fast pulse, weakened heart muscles and an enlarged heart.

## Slide 33: The Recommendation…
For the fluid management annd estimated body dry ideally weigh, interdialytic weight gain should be less than%of total body weight.

## Slide 34: TREATMENT DOSE:
The main aims of dialysis treatment are to prolong patient survival, reduce morbidity and improve qulity of life
Dialysis adequacy is not quantify.
Clinically, several parameters must be condered to provide adequate dialysis ,such as control of fluid overload and electrolytes disturbance, correction of metabolic acidosis and dialysis dose.

## Slide 35
The efficience of dialysis is strongly influenced by the following 3 parameters :
The blood fluid flow rate (qd).
The overall mass tresfer area coefficient (K.O.A), an index of a dialyzer’s performance.
The blood flow (qb) for a blood flow rate of “best “ which is ideally between 300-450 cc/min and a (QD) 500-800 cc/min for an established dialysis patient.

## Slide 36: IMMUNIZATION
Frequency of immunization for each specific diseae should be based on recommendations from the centres for Disease Control and prevention.
Immunization records should be reviewed and updated on annual basis as part of the long- term care planning process.

## Slide 37: Recommendation:
>90% of patients will recive immunization for influenza.
>80% of patients will recive immunization for pneumonia.
>90% of patients without natural immunity will receive immunzation for hepatits B.

## Slide 38: WHY DO PATIENTS MISS TREATMENTS
EDUCATIONAL: DISCONNECT BETWEEN WELLNESS AND TREATMENT (esp. for early starters).
LACK OF RESILIENCY: FATIGUE, SLEEP OR MOOD DISTURBANCE (deperssion/ anger).
ANXIETY: FEAR OF WHAT IT MEANS ,HATE TO GO, OR THEY ANTICIPATE DISCOMFORT
PERCEIVED LACK : OF CARING BY STAFF/ MD.

## Slide 39
Over the 5 year study period ,the averange missed treatment rate was 7.1 days /year.
ANS recommended to decrese the patient with missed treatment with mortality less than 10 % of total patients.

## Slide 40: MEDICAL INJURIES AND MEDICALERRORS IDENTIFICATION
The main goal of medical injuries and identification of medical erors is :
To minimize the number of occurrences and limit the number of patients and staff who are adversely affected by such occurrences.

## Slide 41: MEDICAL INJURIES AND MEDICALERRORS IDENTIFICATION
Examples include but not limited:
Patient fall
Medication Error
Equipments related to injuries
Intradialytic Morbidities
Death
Acute allergic reactions
Blood loss > ml
Staff needle stick
Intradialytic events like, seizure , cheast pain,
hypotension etc ….

## Slide 42: HEALTH OUTCOMES : PHYSICAL AND MENTAL FUNCTIONING
In individuals newly initiated chronic , self- reported baseline mental health and physical function are importment , independent predictors of mortality , and graded relationship between these parametesand mortality risk.
Following these parameters over time provides additional information on mortality risk .
One must also consider age when interpreting the relationship between physical function and mortality.
NKF-K/DOQI and Network recommends regarding qulity of life (QOL):
Mortality ratio <1.0

## Slide 43: INFIECTION CONTROL
Infection control is minimize the number of patients and staff who are exposed to or acqure infectious diseases at the facility.
The facilities requres to be :
Analyze and document the incidence of infection to identify trends and establish baselinee information on infection.
Develop recommendations and plans to minimize infection transmmission, and promote immunization.
Take actions to reduce future incidents.

## Slide 44
Network recommend that surveillance information is avaliable for review, and should include, but not be limited to :
Patients ‘ vacciation status (Hepatitis B,pneumococcal pneumonia, and influenza vaccines).
Viral hepatitis serology and seroconversions for HBV.
Bactremia episodes.
Pyrogenic reactions .
Vascular access infections and vascular access loss due to infections.

## Slide 45: KIDNEY TRANSLANT REFERRAL
Kidney transplantation is the treatment is the treatment of choice for patients with advanced chronic kidney diseasa (CKD) and end stage renal disease (ESRD).
Kidney transplantation , as a therapy for ESRD, improves both patient survival and qulity of life as compared to dialysis…..

## Slide 46
According to Network of ESRD 2011:
  >85 %-95% of patients will be assessed by the nephrologist for kidney transplant candidacy or referral within 3 months of initiating dialysis as evidenced by documentation in medical record….

## Slide 47: REGULATORY AUDIT
Definition :
Systematic , independent, documented process for obtaining records, statements of or other relevant information and assessing them objectively to determine the extent to which specified requirements are fulfilled .
Purpose:
To harmonize and to prove guidence on auditing quality management system of medical device manufactures .
To help the auditing organization develop their auditing procedures.
To assist auditores and auditees in preparing for, facilitating and responding to audits.

## Slide 48: CONCLUSION
The propose of qulity of care in dialysis is :
Optimize patient care and outcomes.
Provide safe dialysis and minimize treatment-related complications.
Contain costs while maintaining qulity patient care already exists .
Document opportunities for improving qulity.
Document effectiveness by showing improvement in patient care………

## Slide 49: REFERENCES
Handbook of dialysis 4th edition
Core responsibility for dialysis nrse related to KFHU
Canadian Hypertension Education program (2005)…
CHAPTER 2: Management of blood pressure in hemodialysis by JASN…. (2006) patients
Clinical performance Goals 2011-2012 (Renal Network 4,9&10)
Adherence Barriers to chronic Dialysis in United states
Publicaton november 7,2013
RENAL FELLOW NETWORK August 3, 2008