## Slide 1: Adequacy of Dialysis
History of hemodialysis Adequacy
Maintaining life, but not health
When hemodialysis treatments were first used to replace renal function, no one knew how much dialysis therapy was needed to keep the patients healthy.
Doctors knew that they had to maintain the blood levels of certain substances, such as potassium, within a specific range to keep their patients alive.

## Slide 2
However, after the patients had been on dialysis for a few months, doctors found it was a much bigger challenge to keep these early hemodialysis patients healthy in the long run.
Long term survival hemodialysis machines
become possible in 1960’s.

## Slide 3
Many of these early hemodialysis patients had frequent complications, such as severe infections and inflammation of the heart cavity (pericarditis). Doctors discovered they could reduce these complications by dialyzing the patients longer dialysis times as necessary for maintaining their long-term health.
nephrologists, trying to shorten the 8-10 hour dialysis sessions and also to prevents patients from being under-dialyzed, began looking for an easy-to-measure value ( or’’ marker’’ ) to help them determine when a patient was receiving an adequate amount of dialysis therapy.

## Slide 4
Urea kinetic modeling
Medical Definition;
Dialysis method of assessing the appropriate (individualized optimal does) that determines a maximum clearance of waste products and a good quality of life.
It is based on the rate of generation and urea removal, as assessed by several indicators;
Levels of urea or BUN
Percent reduction of urea during dialysis (URR)
Total clearance of urea normalized or corrected for distribution volume(kt/v)
Solute removal index
Protein catabolic rate (PCR)
Average concentration of urea (TAC).

## Slide 5
Most of these parameters are calculated with mathematical formulas.
This new approach became known as urea kinetic modeling; it includes protein metabolism analyses and provides care gives with the amount of protein that the patients are actually eating (It calculates the PCR- protein catabolic rate).

## Slide 6
Urea (or BUN levels;
Urea levels in the blood had long been used to assess kidney function.
Patients were described as ‘’ uremic’’ when they had renal disease.
In the early days, the general consensus was that high levels of urea had a effect.
Therefore ,many doctors thought that keeping the BUN low as possible would be best for the patients.
They knew that the more protein the patients ate, the higher their BUN levels were.
Accordingly, many of the early dialysis patients were advised to strictly limit the amount of protein in their diets.
Sad but true-1970’ s renal dietary counseling; Stop eating so much protein OR WE LL HAVE TO INCREASE YOUR DIALYSIS TIME!!

## Slide 7
What is the URR?
URR stands for urea reduction ratio, meaning the reduction in urea as a result of dialysis.
The URR is one measure of how effectively dialysis treatment removed waste products from the body and is commonly expressed as a percentage.
The URR is usually measured only once every 12 to 14 treatments, which is once a month.
A patient’s average URR should exceed 65 percent.
URR= Pre BUN- Post BUN 100
Pre BUN

## Slide 8
Questions no one could answer
It also because apparent that some parents who ate a lot of protein where healthier than other patients who strictly limitedly their protein intake .
Why was this ? Why did patients who weighed the some and ate the some amount of protein required different amounts of dialysis therapy to stay healthy ?
Why where some patients who had pre- treatment BUNs of 100 perfectly healthy , yet others who had pre- treatment BUNs of 60 unhealthy and in need of more dialysis

## Slide 9
Using urea clearances In the 1970’s data from hundreds of patients was collected and this provided a huge database of information about dialysis patients for the first time .they separated the patients into two groups based on their sysmptoms | 
Those that were well and Appeared adequately dialysed | 
And those that had complication and appeared under dialyzed | 

## Slide 10: Kt/v
“k”stands for “clearence” of urea in milliliters per minute
“t” for “time” in minutes
“v” for body water “volume” in liters
the calculation uses each patients individuals body water volume, so the value is “normalised” patients who the same amount can have different body water volume .

## Slide 11
example
if the dialyzer’s clearance is 300 ml /min and a dialysis session lasts for 180 minutes (3 hours) kt will be 300 ml/min multplied by 180minutes. The result comes to 54,00ml, or 54 liters.
Kt=300ml/min multiplied by 180 minutes
Kt=5400 ml=54 liters
the body is about 60 percent water by weight. If a patient weights 70 kilograms (kg) ,V will be 42 liters.
V=70 kg multiplied by.60=42 liters
So the ratio-K multiplied by t to V,or kt/v compares to amount of fluid that passes through the dialyser with the amount of fluid in the patients body the kt/v for this patients would be 1.3 .
Kt/v = 54/42=1.3.

## Slide 12: The question are finally ansered
Why were some patients who had urea levels of 100 perfectly healthy, yet others who had who had levels of 60 unhealthy?, the formula Kt/V effectively answered these questions for the first time.
The healthy and unhealthy patients fell into two groups . If the patient had a Kt/v value that was 1.0 or higher, they were doing well in term of being adequately dialyzed.
If they had Kt/V value less than 0.8 , they were under dialyzed and were doing poorly.

## Slide 13
Another benefit was that dialysis patiein , not less.
As more data accumulated, it because apparent that reducing protein in the diet to keep the urea levels low was actually resulting in patients not getting enough protein to stay Healthy (low albumin levels ).
Those defiant 1970’s patients who ate more than their allotted amount of protein , and than were”punished “with more dialysis time, were actually in sync with today’s best clinical practices.

## Slide 14: How does the Kt/V comparing with the URR?
The Kt/V is more accurate than the URR in measuring how much urea is removed during dialysis , primarily because the Kt/V also considers the amount of urea removed with excess fluid.
Consider two patients with the same URR and same post dialysis weight , one with a weight loss of 1 kg during the treatment and the other with a weight loss of 3 kg .
The who loses 3 kg will have a higher Kt/V , even though both have the same URR.

## Slide 15: What is Adequacy of Hemodialysis ?
Adequacy of dialysis refers to how well we remove toxins and waste products from the patient’s blood, and has a major impact on their well-being.
What we dialyze patients, we filter out toxic particles that can affect even organ of their body.

## Slide 16: How do we know if a patient is Adequately Dialyzed?
Well-Dialyzed Patients Exhibit the `Following :
Sense of Well Being
Good appetite
More Normal weight
Feeling like Dialysis is not Necessary , Except to Remove Fluid
More Natural Skin color

## Slide 17: What are the Symptoms of Inadequate Treatment?
Under – dialyzed patients May Experience:
Weakness, Tiredness
Loss of Body Weight
Poor Appetite
Nausea/vomiting
Feeling Better after treatment
Yellowish Skin Color
More Infections
Prolonged Bleeding
Premature Death

## Slide 18: What are the Symptoms of Inadequate Treatment?
Under – dialyzed patients May Experience:
Weakness, Tiredness
Loss of Body Weight
Poor Appetite
Nausea/vomiting
Feeling Better after treatment
Yellowish Skin Color
More Infections
Prolonged Bleeding
Premature Death

## Slide 19: What does adequate dialysis on ?
Vasucular access
Dialyzer size
Blood flow rate
Dialysate Flow Rate
Treatment time
Other Issues

## Slide 20
vascular access:
AV Fistula is the Perferred Accesss.
Adequate Dialysis department on having a vascular access that works well/
Poorly functioning access causes inadequate dialysis and can lead to premature death.

## Slide 21
Check your Patient’s access for:
Central venous catheter:
Unable to deliver prescribed bloood flow
Development of venous stenosis.
AV graft:
Access recircualration.
Needle size;the bigger the needle size the better the blood flow.
Best Access per K-DOQI:
Delivers a blood Flow Rate adequate for dialysis prescription
Has a “long use-life”
Has a low rate of complications:
Infections
Aneurysms
Limb ischemia

## Slide 22
Dialyzers:
Urea is removed in relation membrane surface area of the dialysis
The larger the surface area the higher the ability to remove urea
Surface area is determined by the size of the dialyzer membrane and the size and number of pores locality in the membrane.
The large the dialyzer, the more urea clearance ….

## Slide 23: Blood Flow Rate:
Also know as blood pump speed…
Blood flow rate is Speed of the blood going through the dialyzer membrane for urea removal. The more blood passing through the dialyzer during the treatment …the More Urea Removed.
If the ordered blood flow not not achive; or temporarily lowered,it means you have changed the ordered prescription, and for sure it will affect. The dialysis adequacy .
Verify the Blood flow rate matches the dialysis precription!
Patients Should Maintain prescribe Blood Flow rate Through Dialysis Treatment!

## Slide 24: High Negative Arterial Pressure:
Result when small gauge needle (16 or17) are unable to provide the flow ordered.
Result when Central Venous Catheters Unable to achieve the BFR ordered.
Indicated by pre-pump Pressure>-240mmHg:
Blood tubing walls flatten.
Pump delivers less blood flow than indicated.

## Slide 25
Dialysate Flow Rate (DFR)
Dialysate flow rate is The Speed which the dialysate flow through the dialyzer.
The faster the dialysate flow through the dialyzer….the more urea is removed.
Your responsibilities:
If DFR is less than ordered how is this corrected?
Know unit policy for acceptable varience in Dialysate flow Rates
Double Check your prescribe order before starting dialysis session.

## Slide 26
Treatment Time :
The longer a patient dialyzes, the more blood flow through the dialyzer , allowing for more cleaning to take place….
So you should check the flowing:
Ordered dialysis time is too short to achieve adequacy
Dialysis time shorter then prescribed
Patients sign off early /ROR
Discontinuation due to an emergency
Missed treatments
every minute counts!
Encourage your patients to complete the Entire Treatment Time!

## Slide 27: Heparinization:
Adequate Heparinization Keeps the blood from clotting,
This allows the blood to flow freely through the fibers of the membrane, and can be removed.\
Ensure Correct Heparin Dose is Administrated! Monitor Lines and Dialyzer for clotting Throughout Treatment!
Heparin free patient’s blood system should be flushed with 100ml normal Saline every one hour to save it from clotting.

## Slide 28: Troubleshooting a Low Kt/V prescription review includes:
Deliverd flow rates (blood &dialysate)
access
Dialyzer
Treatment documentation
Fluid gains and losses each treatment

## Slide 29: Kt/V Higher than Expected
What to Review
Wasthere a recent correction of access recirculation or needle reversal problems?
How long the dialysis session lasted Did the patient dialyzed longer than ordered?
How much fluid dia Iremove?

## Slide 30: Benefits of Adequate Diaysis
Adequate dialysis decreases Morbidity and Mortality rates
Adequate dialysis decreases access related Complications
Adequate dialysis gives the patient feeling of good health and well being
Adequacy Outcomes Indicators
90%or more patients will have Kt/V greater than 1.2
65%or more patients will have a functioning AV Fistula

## Slide 31: Healthcare Workers Responsibility
Know the procedure for drawing pre and post blood work
Follow the prescription as ordered by the physician
Accurate documentation of the treatment
Patients education on the importance of there individual prescription
Check the prescription orders each treatment for changes
Ensure physician of any problems preventing use of prescribed orders
Adequacy of treatment is everyone’s concern !
Patient education is KEY to maintaining adequate treatment
Teach your patients about adequacy it’s about life !